External Interface Specification

1. Hardware Interfaces	2

Autoguider Camera (G1-1400)	2

Observatory Telescope System	2

Observatory Network Infrastructure	2

2. Software Interfaces	2

Gx/Cx SDK	2

Error Compensation Software	3

SIPS (Scientific Image Processing System)	3

3. User Interfaces	3

Administrator Dashboard	3

End User Interface (Astronomer/Observer)	3

4. File Interfaces	4

Image Files	4

Error Data Logs	4

5. Communication Interfaces	4

Network Protocols	4

Error Compensation Data Transmission	4

Remote Desktop	4

# 1. Hardware Interfaces

## Autoguider Camera (G1-1400)

  - Connection Type: Ethernet via the Gx Camera Ethernet Adapter Micro.

  - Communication Protocol: Uses SDK for Gx and Cx camera control.

  - Power Supply: 12V power provided via the Ethernet Adapter.

  - Supported Features:

    - Image acquisition.

    - Tracking mode switching (brightest star or constellation).

    - Real-time rotational error measurement (RA and DEC).

## Observatory Telescope System

  - Integration: The system interfaces with the telescope control system to send error corrections (RA, DEC coordinates, etc..).

  - Purpose: To adjust the telescope's motor speeds and ensure precise alignment.

  - Communication Type: Data transfer via intermediary software developed by another team.

## Observatory Network Infrastructure

  - Network Type: Local observatory network.

  - Role: Facilitates communication between the camera, control software, and telescope system.

  - Configuration: Requires static IP setup for the camera.

# 2. Software Interfaces

## Gx/Cx SDK

  - Functionality: Provides APIs to control the G1-1400 camera.

  - Key Features:

    - Camera initialization and connection.

    - Image acquisition and configuration.

    - Real-time error data retrieval.

  - Compatibility: Windows 10 or newer operating systems.

## Error Compensation Software

  - Role: Receives rotational error data from the camera control system and applies corrections to the telescope motors.

  - Data Exchange:

    - Input: RA and DEC error measurements (absolute rotational error).

    - Output: Adjustments applied to telescope control motors.

  - Format: Structured data (JSON or XML, TBD).

## SIPS (Scientific Image Processing System)

  - Purpose: Existing software for image processing, potentially used alongside the new system.

  - Compatibility: Data format and storage must align with SIPS requirements.

# 3. User Interfaces

## Administrator Dashboard

  - Access: Local and remote access via remote desktop solutions.

  - Features:

    - IP configuration management (e.g., setting camera's IP, subnet mask).

    - Camera mode selection (brightest star or constellation).

    - Troubleshooting and system diagnostics.

    - Viewing real-time tracking and error data.

  - Interface Type: Graphical User Interface (GUI) with a focus on usability.

## End User Interface (Astronomer/Observer)

  - Access: Indirect through telescope control software.

  - Features:

    - Access to real-time tracking error corrections.

    - Image visualization capabilities.

  - Interface Type: Integrated into existing telescope software.

# 4. File Interfaces

## Image Files

  - Storage Format: Standard image formats (e.g., FITS, JPEG, PNG).

  - Purpose: Save images captured by the camera for further analysis.

  - Storage Location: Local storage on the observatory's computer or network storage.

## Error Data Logs

  - Format: Text or structured formats (e.g., JSON, CSV).

  - Purpose: Logs of rotational error measurements for historical analysis and troubleshooting.

  - Storage Location: Local or networked storage, accessible for visualization in the admin dashboard.

# 5. Communication Interfaces

## Network Protocols

  - Type: Ethernet communication over TCP/IP.

  - Purpose: Real-time data exchange between the camera, control software, and telescope system.

  - Latency Requirements: Low latency (<7 seconds) for accurate real-time adjustments.

## Error Compensation Data Transmission

  - Format: TBD, likely JSON or XML based.

  - Frequency: Continuous during operation.

  - Purpose: To transmit RA and DEC error corrections.

## Remote Desktop

  - Purpose: Remote operation and monitoring of the system.

  - Access: Secure remote connection to the observatory network.